| Document Reviewed: US-NY-2029 NYSTA Exit 37, Structural Design Report, and Geotechnical Investigation Report. |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Location: Exit 37 |  |  |  |  |  |  |  |
| Address: I-90 Exit 37, Liverpool, NY 13088 |  |  |  |  |  |  |  |
| INITIATOR: | Joshua Stagnitti | Date: | 6/2/2025 | RESPONDER: |  | Date: |  |

| Action Code Key |  | A | B |  | C |  | N/A |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Designer will Comply | Designer will Evaluate |  | Comment Not Incorporated |  | Comment Not Applicable |
| No. | Drawing No. or Spec. Section | Comments |  | Action |  | Responses |  |
|  |  | US-NY-2029 NYSTA Exit 37 |  |  |  |  |  |
| 1. | T-1 | Applicable Codes #1- The “International Building Code 2018” was replaced with the 2020 Building Code of New York State. Remove referenced International Building Code 2018 from this list. |  |  |  |  |  |
| 2. | T-1 | Applicable Code #3- “Accessibility Code ADA 2015” and “ICC/ANSI A117.1” are not listed in the Reference Standards of Chapter 35 of the 2020 Building Code of New York State. This shall be replaced with the referenced “ICC A117.1-09”. Review/revise as necessary. |  |  |  |  |  |
| 3. | T-1 | Applicable Code #5- “Fore/Life Safety Code – IFC 2018” was replaced with the 2020 Fire Code of New York State. Replace with the current version of the code 2020 Fire Code of New York State review/revise as necessary. |  |  |  |  |  |
| 4. | C-2 | Provide details for what’s in the area marked Future AT&T equipment Area”. This area has 2 different shades and is unclear what is being proposed. No plans have been submitted for any buildings or ice canopies. |  |  |  |  |  |
| 5. | General | Will there be a generator located at this site? Plans and cut sheets will need to be included as part of this review. |  |  |  |  |  |
|  |  | Structural Design Report |  |  |  |  |  |
| 6. | Page 3 & 4 | Confirm what type of foundation will be used at this site. |  |  |  |  |  |
| 7. | Page 25 | There is reference to Internation Building Code at the top right corner of this page. The internation Code was replaced with the 2020 Building Code of New York State. Review revise as necessary. |  |  |  |  |  |
| 8. | General | Will there be concrete pads poured for any equipment? No plans have been provided for concrete pads. Provide plans. |  |  |  |  |  |
|  |  | Geotechnical Investigation Report |  |  |  |  |  |
| 9. | Page 1 of 13 | Amendment to New York State Department of State 19 NYCRR 1203.3(a)(3)(ix) and State Education law for Architects (Article 147) and Engineers (Article 145) the design professionals registration expiration date must be included with submitted construction documents effective December 30, 2020. |  |  |  |  |  |
| 10. | Page 2 of 13 | References- “overall site plan, provided by tectonic engineering, dated October 1, 2024”. Submit this site plan for review and cross reference. |  |  |  |  |  |
| 11. | General | Confirm what type of foundation will be used at this location. |  |  |  |  |  |
|  |  | General Overall Comments |  |  |  |  |  |
| 12. |  | Structural Analysis Reports have not been submitted for review. Please provide reports. |  |  |  |  |  |
| 13. |  | Hazard Reports have not been submitted. Please provide reports. |  |  |  |  |  |
| 14. |  | Engineered lift plans have not been submitted. Please provide detailed plans. |  |  |  |  |  |
| 15. |  | Please provide clouds around all changes to the plans/reports when resubmitting. This will help streamline any additional reviews. |  |  |  |  |  |